# Preliminary Literature Review: DIY DNA Oligonucleotide Synthesis

Revised 2026 — scope realigned toward DIY / accessible in-house synthesis; corrected against a 2026 deep-research survey (see change notes in-line). Commercial benchtop and provider rows are retained only as the screenable baseline for contrast.

## Table A — Capability and accessibility by synthesis approach

| Technology | Method (how it works) | Cost (capital / per-seq) | Usable length @ high fidelity | Material acquisition | Protocol accessibility |
| --- | --- | --- | --- | --- | --- |
| OpenIDS v1 | Inkjet printhead deposits phosphoramidite chemistry onto silicon-wafer spots; 3D-printed frame, Arduino/Pi control; array format | ~$20K / ~$1–15 | ~20–30 nt (demonstrated only a poly-dT 30-mer; ~98%/step → ~55% full-length at 30, <40% at 50) | Medium — industrial inkjet printhead is the chokepoint; reagents commodity | Medium — open-source, “non-expert” buildable, but anhydrous wet chemistry + calibration non-trivial |
| OpenIDS v2 | 2nd-gen OpenIDS: ~⅓ volume, custom PCB, 3D-printed peristaltic pumps; same inkjet-microarray chemistry | ~$4K / ~$12 | ~15–25 nt (validated on a 15-mer poly-dT, ~56% full-length, ~96%/step) | Medium — as v1 | Medium — more reproducible/accessible than v1 (full open Gerber/CAD/BOM/code) |
| MAS 2.0 / AMS (new — 2024) | Open-source photolithographic (light-directed) synthesizer: a DMD patterns 365 nm UV to photo-deprotect features (NPPOC amidites), no physical masks | ~tens of $K (component list in supplement) / — | library-grade (error-prone; handled by downstream selection) | Medium — off-the-shelf optics + specialty photolabile amidites; no cleanroom | Medium — full open CAD/STL/software + chemistry manual; optics alignment is the barrier |
| DropSynth | Assembles commercial microarray-derived oligos into genes: barcoded magnetic beads pull each gene’s oligo set into a vortex-made water-in-oil emulsion, then PCA/Golden-Gate assembly | ~$3.4K bead pool (~200 rxns) / ~$1–2 per gene | Gene-length (~1–3 kb) from short blocks — fidelity ~25% perfect, error-correction-dependent | Medium — needs a commercial oligo-pool source; assembly is standard mol-bio kit + vortex — no microfluidic chip, no cleanroom | Moderate — bead-pool prep is fiddly; downstream is routine PCR/gel + bioinformatics |
| Electrochemical | Phosphoramidite chemistry with electrochemically-generated-acid deprotection on electrode arrays | ~$10K / ~$5 (est.) | Not established (TRL 3) — 13–17-mer academic demos only | High ease — commodity electrodes (why it is concerning if it matures) | No independent DIY build published — academic + defunct-commercial only |
| Enzymatic (TdT) | Template-independent polymerase adds nucleotides in aqueous conditions | Commercial: ~€250–280K instrument / €0.11–0.26 per base (DNA Script vendor quote). DIY route: low capital | Commercial (SYNTAX): 80 nt Standard / 120 nt Hi-Fi. DIY (Church route): not defined-sequence | Commercial: proprietary enzyme/cartridge = licensing chokepoint. DIY: off-the-shelf TdT/dNTPs/apyrase | Benchtop ≠ DIY (closed cartridge). Only the Church terminator-free route is off-the-shelf, and it is data-storage only (see §1.4) |
| Commercial benchtop (column phosphoramidite, e.g. Kilobaser, MerMade) | Standard solid-phase phosphoramidite column synthesis in a benchtop box | ~$15–150K (best ~$60K; used $15–30K) / varies | ~100–150+ nt at good fidelity — mature | Medium — reagents commodity; instruments on used/eBay market | Medium–High — turnkey, established (baseline, not DIY) |
| Commercial provider (mail-order, e.g. Twist/IDT/GenScript) | Centralized industrial synthesis + gene assembly; order online, receive DNA | none / ~$0.07–0.10 per bp | Genes/genomes, high fidelity (the benchmark) | N/A (service) | Highest ease — but this is the screened channel (IGSC / SecureDNA) |

How to read Table A (DIY focus). The genuinely DIY-reproducible de novo synthesizers are OpenIDS/OpenIDS2 (inkjet) and MAS 2.0 (photolithographic). DropSynth is DIY-reproducible gene assembly but still consumes a commercial (screenable) oligo pool. Enzymatic-benchtop and both commercial rows are the screenable baseline, shown only for contrast. Are these the only DIY routes? Effectively yes for reproducible published builds — a 2026 survey found no working homebrew/garage synthesizer beyond these academic open-hardware platforms plus DropSynth-style assembly (§5). OOS = out of scope.

## Table B — Risk and readiness (the biosecurity read)

| Technology | TRL | Assembly readiness | Detectability | Control / biosecurity note |
| --- | --- | --- | --- | --- |
| OpenIDS v1 / v2 | 5 | Low — short (~15–30 nt), ~55% full-length; not directly gene-assembly-ready | Moderate | Visible bench kit; printhead sourcing traceable; low assembly-readiness caps the threat |
| MAS 2.0 / AMS | 5–6 (open build) | Medium — library-grade output for assembly | Moderate | Fully open photolithographic build; optics + photolabile-amidite barrier; the DIY twin of the array/photolith class |
| DropSynth | 4 | High (it is assembly) — but gated by expertise + a commercial oligo pool | Moderate | Assembles genes (higher intrinsic risk) but inherits the screening perimeter via its oligo-pool input; not DIY-adopted |
| Electrochemical | 3 | Unknown (pre-commercial) | High (≈9/10, near-invisible) | Highest potential concern — portable, commodity materials — but no DIY build exists; conditional-future (see Part 2) |
| Enzymatic | 5 (commercial) / low (DIY) | Commercial: Medium–High. DIY: low (data-storage only) | Low–Moderate | Enzyme/cartridge licensing is a genuine control point; defined-sequence enzymatic needs bespoke reagents a well-resourced lab must make |
| Commercial benchtop | 9 | High — long, high-fidelity, directly assembly-ready | Low | The real near-term concern — mature, ≥150 nt, assembly-ready, largely unscreened, resale market (baseline) |
| Commercial provider | 9 | Highest — delivers assembled constructs | Low | Baseline + the currently-screened chokepoint; R0/R1 controls act here (IGSC ~80% capacity) |

## PART 1: CORE TECHNOLOGY LANDSCAPE

### 1.1 OpenIDS: Inkjet-Based Synthesis (TRL 5 — Demonstrated)

Primary Reference: Kim, J., Kim, H., & Bang, D. (2024). “An open-source, 3D printed inkjet DNA synthesizer.” Scientific Reports, 14, 3773. https://doi.org/10.1038/s41598-024-53944-x

Key Technical Specifications: - Synthesized oligonucleotides on 144 spots on a 15 × 25-mm silicon wafer filled with controlled-pore glass, with ~98% synthesis yield per cycle. This is per-step coupling efficiency, not full-length correct-product fraction. The two diverge sharply with length: at 98%/step a 30-mer is ~55% full-length and a 50-mer is <40%. OpenIDS2 (below) measured ~96.1%/step and only ~56% full-length for a 15-mer. Usable high-fidelity length is therefore ~15–30 nt, and OpenIDS output is not directly assembly-ready for gene-length constructs. - Architecture: 3D printing, Arduino, and Raspberry Pi, with an industrial Xaar-128 inkjet printhead. - Low production cost suits self-fabrication in academic labs; even non-experts can build and control it.

Cost Analysis: - Full 5-printhead system: ~$19,900 (vs $34,000 for the earlier POSaM system, and $15–30K for used commercial synthesizers). - Consumables ~$100–500 for the initial build; ~$1–5 per sequence at scale (1000+ sequences).

GitHub: https://github.com/regiregire/OpenIDS (archived, superseded by OpenIDS2).

Follow-up — OpenIDS2 (2025): Kim, Kim & Bang, PLOS ONE 20(12):e0338478. Reduces device volume to ~⅓, integrates a custom PCB, and replaces ~$4K of commercial syringe pumps with 3D-printed peristaltic pumps (<$164). Total build cost ~$4,000 — about 20% of OpenIDS v1 (correction: an earlier “~$12K” figure is not in the paper). Reported ~96.1%/step; ~56.2% full-length for a 15-mer poly-dT (urea-PAGE + HPLC). Full open package (Gerber/CAD/BOM/code): https://github.com/regiregire/OpenIDS2.

Chemistry innovation: Propylene carbonate (PC) replaces acetonitrile as the inkjet solvent (94–98% coupling). Biosecurity implication: PC is a food additive / industrial solvent — effectively unregulated, unlike acetonitrile.

Forensically relevant build detail: the published OpenIDS protocol omits the capping step. Because the diagnostic G→A substitution signature of column phosphoramidite chemistry is capping-driven (Masaki et al., 2022), OpenIDS oligos are expected to carry a distinguishable error phenotype relative to standard capped column synthesis — the DIY-specific signature developed in the attribution framework (Chapter 4).

### 1.2 DropSynth: Emulsion Gene Assembly (Research method) — not a de novo synthesizer

Primary Reference: Sidore et al. (2020), “DropSynth 2.0: high-fidelity multiplexed gene synthesis in emulsions,” Nucleic Acids Research, 48(16), e95 (DOI 10.1093/nar/gkaa600); orig. Plesa et al. (2018), Science 359:343 (DOI 10.1126/science.aao5167).

How it works: Genes are bioinformatically split into oligos, each tagged with a 12-nt microbead barcode common to all oligos of one gene; a commercial microarray oligo pool is amplified, nicked to expose the barcode, and hybridised to a pool of barcoded magnetic beads so each bead captures one gene’s oligos. Beads are compartmentalised by vortexing into picolitre water-in-oil droplets, and the gene is assembled inside each droplet (PCA in 1.0/2.0; Golden Gate in DropSynth-Gold, 2026).

Corrections vs the earlier draft (from 2026 verification): - No microfluidic chip and no cleanroom. The emulsion is made with a Vortex Genie 2 and BioRad droplet-generation oil — deliberately “poor-man’s” compartmentalisation. The equipment is a standard molecular-biology kit (thermocycler, magnet, vortex, gel). The earlier “microfluidic chip fabrication / fab access required” framing was incorrect. - Capital is a ~$3,400 barcoded-bead pool (good for ~200 reactions, ~$0.04/gene amortised), not $75K; per-gene reagents+oligos are $1–2 (384-plex), lower at 1536-plex. - It is assembly, not synthesis. DropSynth makes no new nucleotides — it multiplexes access to genes from an upstream commercial oligo pool, so it inherits the screening perimeter rather than escaping it.

Reproducibility: strong — now developed in the Plesa lab (U. Oregon), with open protocols/code at dropsynth.org and a commercial offering (SynPlexity, 2025). Fidelity ~23–28% perfect assemblies (2.0); newer generations reach ~1 kb (Degenerate DropSynth, 2023) and ~3 kb (DropSynth-Gold, 2026).

2025 peer — OMEGA (Romero lab, bioRxiv 2025, DOI 10.1101/2025.03.22.644747): pooled Golden Gate gene assembly with no beads and no emulsion (pure standard-lab), ~$1.50/gene, up to 2.6 kb, 94–97% recovery — arguably more DIY than DropSynth, and the main current alternative for cheap pooled gene libraries.

### 1.3 MAS 2.0 / Advanced Maskless Synthesizer — open-source photolithographic synthesis (new)

Primary Reference: Somoza group, “Advanced Maskless Synthesizer (MAS 2.0),” ChemRxiv 2024, DOI 10.26434/chemrxiv-2024-j4c90.

How it works: phosphoramidite synthesis using photolabile 5′-protecting groups (NPPOC/BzNPPOC) instead of acid-labile DMT. A digital micromirror device (DMD) patterns ~365 nm UV onto the substrate, photo-deprotecting only illuminated features so the next amidite couples only there (“maskless” = the DMD replaces physical photomasks). 1.5 µm feature resolution.

Why it matters here: this is the first fully open-source, reproducible photolithographic synthesizer — full CAD/STL/optical drawings, a costed component list, Python control software, and a chemistry/process manual. It uses off-the-shelf optics + a high-power UV LED and needs no cleanroom (unlike electrochemical). Barriers: optics alignment, DMD control, anhydrous amidite fluidics, and specialty photolabile amidites (available but not commodity). Capital is in the tens of $K (exact figure in the supplementary spreadsheet; flag as unverified). It is the DIY instantiation of the photolithographic class reproduced in Chapter 4 (Lietard) — closing the loop between the DIY landscape and the attribution atlas. Output is library-grade (error-prone, handled by downstream selection), not per-strand perfect.

Historical predecessor: POSaM (Lausted et al., Genome Biol. 2004, 5:R58) — the original open-source inkjet synthesizer (~$34K) OpenIDS builds on; documents that open synthesizer designs are 20 years old.

### 1.4 Electrochemical DNA Synthesis (Pre-Commercial; no DIY build)

Technical approach: phosphoramidite chemistry with electrochemically-generated-acid (EGA) deprotection — a positive potential at an electrode generates protons that strip the DMT group locally, giving per-pixel spatial selectivity.

Primary Reference: Xu et al. (2021), Science Advances, 7(46), eabk0100 (DOI 10.1126/sciadv.abk0100). Context caveat: this is a DNA data-storage demonstration synthesizing a 13-mer on electrodes, not a general-purpose synthesizer.

Status: the EGA mechanism is well established — CombiMatrix/CustomArray commercialised electrochemical array synthesis (acquired by GenScript, 2017), and Egeland & Southern (2005) demonstrated 17-mers — but a benchtop, gene-length, DIY-accessible electrochemical synthesizer remains pre-commercial, and a 2026 survey found no independent/open build published anywhere. The barrier is custom CMOS/microelectrode fabrication (cleanroom/foundry). No such device appears in the 34-firm landscape (Part 2), corroborating the TRL-3 assessment for the DIY-relevant form. (This is the class reproduced from the commercial side as the Gimpel/Genscript electrochemical fingerprint in Chapter 4.)

### 1.5 Enzymatic DNA Synthesis — and whether a lab can do it alone

Technology: Terminal deoxynucleotidyl transferase (TdT), template-independent single-nucleotide addition — Palluk, Arlow, de Rond et al. (2018), Nature Biotechnology, 36(7), 645–650 (DOI 10.1038/nbt.4173).

Can enzymatic synthesis be done independently in a lab? The 2026 survey gives a nuanced answer: - Off-the-shelf DIY, but data-storage only: the Church “terminator-free / kinetic” route (Lee et al., 2019, Nat. Commun. 10:2383) uses commercial TdT + natural dNTPs + apyrase — no engineered enzyme, no modified nucleotides. But it encodes information in nucleotide transitions (stochastic homopolymer runs), so it does not produce a defined arbitrary sequence; it needs a codec + sequencing readout. Realistic for data storage, not for making a specified oligo. - Defined sequence, but bespoke reagents (well-resourced lab only): the TdT–dNTP-conjugate (Palluk 2018) and 3′-O reversible-terminator routes produce defined sequence but require expressing engineered TdT mutants and synthesising/conjugating modified nucleotides yourself — reproducible from the papers, but no reagents are sold as a kit. - Turnkey, but not DIY: DNA Script SYNTAX (engineered TdT + proprietary 3′-blocked terminators + instrument) reaches 80–120 nt at high fidelity — proprietary enzyme, nucleotides, and instrument; not reproducible. Benchtop ≠ DIY: it is a purchasable device gated by a closed reagent cartridge, which is exactly why the commercial enzymatic route is more controllable than DIY chemical routes.

Instrument capability (vendor-confirmed): SYNTAX synthesizes up to 96 oligos in parallel (80 nt Standard / 120 nt Hi-Fi); instrument ~€250–280K (DNA Script vendor quote, 2026; IFP 2024 STX-200 $292,000 corroborates); on-device desalt/quant/normalise.

Market status: enzymatic DNA synthesis market ~USD 296M (2024) → ~USD 3.16B (2034), ~26.7% CAGR (Precedence/Mordor). Molecular Assemblies licenses its Fully Enzymatic Synthesis (FES) for on-site production (2024).

### 1.6 From Oligos to Genes: Assembly Feasibility and the Fidelity Constraint

The preceding sections characterise oligonucleotide synthesis. A biosecurity assessment scoped to the synthesis step must state clearly what stands between a DIY oligo synthesizer and a functional gene. The literature supports a precise, and for this project favourable, conclusion: assembly of short oligos into genes is standard, decades-old methodology, but converting low-fidelity DIY oligos into a correct functional gene is gated by fidelity and by a downstream error-correction pipeline — not by the oligo length itself.

Chemical synthesis is limited to ~200 nt, so all gene synthesis proceeds by assembling short oligos. The two routes are polymerase cycling assembly (PCA) (overlapping oligos extended by polymerase, then PCR) and ligation-based assembly (LCR) (overlapping oligos joined by ligase; lower error rate, more constrained). Both are textbook techniques used by every commercial provider.

A common assumption is that oligos shorter than ~40–60 nt cannot be assembled. The literature contradicts this as an absolute: the 901 bp GFP gene has been assembled from pools of 16-mers, 30-mers, and 40-mers via LCR + PCA + PCR (USPTO 12,018,316, Example 2). Assembly from oligos in the OpenIDS length range is therefore demonstrated in principle. The practical penalty of short building blocks is not impossibility but multiplicity: a 1 kb gene from 30-mers needs roughly twice the oligos and junctions of one from 60-mers, multiplying error opportunities.

Fidelity, not length, is the binding constraint. Assembly quality is governed by the full-length fraction of the building-block oligos, and errors compound across junctions. Standard practice targets >90% full-length oligos; below ~70%, redesign or a different route is indicated. This is where DIY output falls short: OpenIDS2 delivers ~56% full-length for a 15-mer — far below assembly-grade. The consequence at scale is severe: even from decent oligos, PCA of a ~1 kb fragment yielded only 4.2 ± 2.1% correct product before error correction, rising to 31.3 ± 3.1% after two rounds (Cui et al., 2024, PMC11547124). From ~56%-full-length building blocks the correct-assembly fraction would be substantially lower.

Recovering a correct, functional gene from low-fidelity oligos therefore requires a downstream error-correction and verification pipeline: enzymatic mismatch cleavage (T7 endonuclease I and comparable enzymes; benchmarked by Lubock et al., 2017, NAR 45(15), 9206–9217, DOI 10.1093/nar/gkx691), then clonal selection and sequence verification (Sanger/NGS) — added expertise, reagents, and instrumentation, not a further step of synthesis.

The assembly ceiling. Even with error correction, PCA-based assembly is practically bounded at ~7,000–10,000 bp; beyond that, reliable assembly requires bacterial and yeast host systems, and many viral sequences are toxic to those hosts (NTI, 2023, Box 4). Booting a functional infectious agent adds virus-specific expertise and mammalian cell-culture infrastructure.

Implications (both reinforce the project design): 1. The binding constraint sits downstream of oligo synthesis. DIY oligo synthesis is real; assembly of short oligos is standard; but converting DIY-grade oligos into a correct functional gene depends on an error-correction/clonal-selection/verification and (beyond ~10 kb) host-system pipeline that is expertise- and equipment-intensive — the same barrier NTI (2023) identifies. This is why the project scopes to synthesis and treats assembly/rescue as out of scope (OOS) — a principled boundary. 2. Synthesis-route error signatures propagate into the assembled product. Because assembly copies the building-block oligos (with their per-route error phenotypes) into the final construct, the synthesis-method signature is in principle detectable after assembly, in the sequenced gene — directly relevant to the attribution framework (Chapter 4).

## PART 2: Accessibility & Reach of the Commercial Benchtop Landscape (baseline; inventory deferred to IBBIS)

This section moves from chemistry (Part 1) to the products that instantiate it — but, per the realigned scope, it does not re-inventory manufacturers (the 34-firm list is compiled within the ERA/IBBIS working group; Alexanian, 2026). The contribution here is the accessibility-and-reach scoring — jurisdiction, vintage, per-device capability, and the secondhand/legacy channels that place capability outside a mandate — not the census. Per-device security-posture assessment is held pending IBBIS infohazard review.

### 2.1 Jurisdictional reach under a US mandate

- 8 of 34 manufacturers are US-headquartered (directly bound).

- 12 of 34 are in allied jurisdictions (GB, DE, FR, JP, DK, SE, AT) — reachable via harmonisation/diplomacy.

- 14 of 34 sit outside US and allied reach (13 China, 1 Russia).

- 5 of the 9 firms founded since 2019 are outside-jurisdiction, including the highest-throughput array class.

- ~35% predate 2010 — a legacy installed base that cannot be retrofitted with KYC, secure boot, or on-device screening, and where forensic attribution is the only available control layer.

Finding: a US mandate directly reaches under a quarter of known manufacturers, and the newest, most capable capacity is concentrating where it does not reach. International harmonisation is load-bearing, not optional. Reach erodes further once secondhand/used-equipment channels are counted (below).

### 2.2 Capability is uneven, and capability + unreachability is rare

| Firm | Chemistry | Jurisdiction | Usable length | Throughput | Note |
| --- | --- | --- | --- | --- | --- |
| LinkZill (TruSynth) | Array (TFT-semiconductor) | China (outside) | 200 nt (public spec); ≥98.5% coupling | 4,096 / chip (spec) | The one device combining assembly-relevant length, high throughput, and no US reach |
| DNA Script (SYNTAX) | Enzymatic (TdT) | France (allied) | 80 nt Std / 120 nt Hi-Fi | 96 parallel | Reagent-licensing chokepoint; ~€250–280K (vendor quote) |
| Kilobaser (one/one-XT) | Phosphoramidite column | Austria (allied) | ~150 nt (cartridge budget) | 1 per run | Offline/air-gap; proprietary cartridge chokepoint; low throughput |

Devices reaching 120–150 nt exist in several jurisdictions, but only LinkZill is simultaneously capable, high-throughput, and outside US reach. Capability is common; the combination of capability with unreachability is rare. Durable control must attach to capability and jurisdiction, not to chemistry class — reinforced by the observation that the same array chemistry spans OpenIDS (DIY, ~30 nt, ~55% full-length) and TruSynth (industrial, 4,096-plex). Capability is a property of the engineering and capital applied to a chemistry, not of the chemistry itself.

### 2.3 Screening-tool landscape and the opacity finding

Tools by detection floor (JHU CHS Gene Synthesis Screening Hub): 30 bp — SecureDNA (free, cryptographic, hardware-integrable), Aclid (commercial); 50 bp — Battelle UltraSEQ, IBBIS Common Mechanism (free, open-source), RTX BBN FAST-NA, Signature Science SeqScreen-Nano (free); general — NCBI BLAST. The 30-vs-50 bp split maps onto the framework/S. 3741 window debate and onto whether short-oligo benchtop output is even screenable.

Opacity finding: across all 34 manufacturers, adopted-screening status could not be verified from public sources. If this holds, “the benchtop layer is essentially unauditable from outside” is itself a reportable governance result.

### 2.4 Feasibility constraints on device-level control (incl. secondhand leakage)

The IGSC (formed 2009; members ~80% of commercial capacity) provides voluntary order screening. Right-to-repair legislation (e.g. Oregon SB 1596, 2024) restricts the same manufacturer software-lock mechanism on-device screening relies on. And documented resale/export leakage — Codex DNA’s (now Telesis Bio) Q2-2022 Form 10-Q discloses BioXp systems reaching embargoed countries including Russia via distributors/resellers — is a concrete instance of point-of-sale KYC being undermined downstream, and the clearest evidence that accessibility outside official manufacturers (secondhand/used) is a real gap.

## PART 3: SYNTHESIS SCREENING POLICY LANDSCAPE (2024–2026)

Two distinct US instruments are frequently conflated. Keeping them separate matters: one is funding-conditional guidance, the other is proposed statute with a different lead agency.

### 3.1 OSTP Framework for Nucleic Acid Synthesis Screening (April 2024)

Released 29 April 2024; requires (as a condition of federal life-sciences funding) that synthetic nucleic acids and benchtop devices are procured only from Framework-compliant providers/manufacturers. Built on the 2023 HHS Guidance.

Implementation dates: - 26 April 2025 (Stage 1, in effect): screening for sequences ≥200 nt. - 13 October 2026 (Stage 2, scheduled — not yet in force): window reduced to 50 nt, plus an expanded functional SOC definition covering sequences that contribute to pathogenicity/toxicity even when not from a listed agent.

Correction: an earlier draft placed the 50-nt window at October 2025 and simultaneously described the framework as paused; it is October 2026, and a scheduled (not implemented) milestone.

Key requirements: screen DNA/RNA ≥200 nt against a Regulated Pathogen Database (US Select Agents, Australia Group, EU dual-use/CCL); six-frame translation to catch codon-optimised evasion; customer identity verification; apply NIST standards for mechanism sufficiency where available.

Policy pause (May 2025): Executive Order 14292 (signed 5 May 2025; 90 FR 19611) directed OSTP to revise or replace the 2024 Framework within 90 days. As of October 2026 the replacement remains unpublished, so whether the October 2026 milestone survives on schedule depends on it.

### 3.2 S. 3741 — Biosecurity Modernization and Innovation Act of 2026 (statutory vehicle)

Introduced 29 January 2026 (Cotton, Klobuchar); referred to Senate Commerce. Per the bill text, it directs the Secretary of Commerce to require gene-synthesis providers to screen orders and customers; requires federal-fund recipients to buy only from compliant providers; provides exemptions for clearly non-hazardous sequences and technical assistance for ambiguous results; and establishes a biotechnology governance sandbox at NIST.

Distinction: OSTP framework = OSTP/HHS-led, funding-conditional; S. 3741 = Commerce-led, statutory. S. 3741 supplies the mandate mechanism; the OSTP framework supplies the technical spec. Neither alone constitutes the “mandatory + on-device” regime this project models as R1 — a composite projection, doubly conditional on the framework revision being issued and on S. 3741 (or equivalent) being enacted.

### 3.3 IGSC Harmonized Screening Protocol (v3.0, September 2024)

IGSC members voluntarily screen all dsDNA orders against a Regulated Pathogen Database, including six-frame translation. Scope: 200+ bp against the RPD; customer identity/affiliation checks; 8-year retention; members required to transition to the 50-bp threshold to conform with the OSTP framework. Members (Thermo Fisher, IDT, GenScript, Twist, Eurofins, others) represent ~80% of global commercial capacity.

### 3.4 Recent Biosecurity Research: AI-Designed Protein Evasion (October 2025)

Wittmann, B.J., et al. (2025). “Strengthening nucleic acid biosecurity screening against generative protein design tools.” Science, 390(6768), 82–87. https://doi.org/10.1126/science.adu8578

- Design: three open protein-generative models (ProteinMPNN, EvoDiff-MSA, EvoDiff-Seq) produced 76,080 synthetic homologs across mutational loads for 72 wild-type proteins of concern (mostly toxins). Templates index-anonymised (info-hazard); no wet-lab synthesis; function-retention estimated in silico (TM-Score, ΔpLDDT).

- Findings: best-match screening is vulnerable to generative design (AI homologs retain predicted function at low identity, evading similarity search). Coordinated “zero-day” disclosure via IGSC / OSTP / NIST / DHS + four BSS developers; three of four patched. After patching, ~1%/3%/3%/7% of the more-probably-functional variants still escaped — average ~3% unflagged (~97% flag rate), concentrated in a few contested templates. A shuffle/fragment experiment reduced detection further, though standard mol-bio can rebuild the gene (cf. §1.6).

- Implication: similarity-based screening erodes as AI orders grow sequence-diverse — exactly the gap the October 2026 functional-SOC provision targets (shift from “best match to a listed agent” toward “demonstrated pathogenic/toxic function”).

Counterpoint (authors’ own): Ikonomova et al. (2025, bioRxiv 2025.05.15.654077) found early-2024 generative models cannot yet reliably rewrite a protein while retaining function and evading screening — a near-term reassurance expected to weaken.

Baseline screening validated: Laird et al. (2025, Applied Biosafety, doi:10.1177/15356760251401228) — NIST inter-tool analysis, >95% sensitivity, >97% accuracy across six tools; disagreements traced to differing SOC definitions. Supersedes any “NIST validation pending” framing: the open problem is definitional/functional, not baseline accuracy.

## PART 4: SUPPLY CHAIN & ACCESSIBILITY ANALYSIS

### 4.1 DNA Synthesis Market Growth

Market-size estimates vary widely (incompatible scope definitions) — from ~USD 2.5B to ~USD 5.9B (2025 base), CAGRs ~14–19%. Precise sizing is not load-bearing; no single number is presented as definitive. The two robust, on-thesis signals: (1) the market is growing double-digit (decentralisation/demand rising); (2) provider revenue is concentrated among a handful of firms (Thermo Fisher, IDT, GenScript, Twist, Eurofins), which — with IGSC members at ~80% capacity — is precisely what makes provider-level screening a viable chokepoint.

### 4.2 Phosphoramidite Supply Chain

Global phosphoramidite market ~USD 1.1–1.2B (2024–25) → ~USD 1.7–2.3B by 2031–33 (~6–8% CAGR); North America ~39% share; APAC fastest-growing. All four standard amidites are continuously multi-sourced (Glen Research, ChemGenes, Merck/Sigma, LGC, Thermo, etc.) and not restricted for research institutions.

Reagent-stability chokepoint — being engineered away: phosphoramidites have poor bench stability (store −20 °C under inert gas; degrade by acrylonitrile-elimination/water pathways; Sandahl et al. 2021). But on-demand flow synthesis of phosphoramidites from stable parent alcohols has been demonstrated (<6 min, >98% conversion, no purification, fed directly to automated synthesis) — Sandahl et al., 2021, Nature Communications 12:2760 (DOI 10.1038/s41467-021-22945-z). Maturity caveat: a 2021 proof-of-concept (HPLC pump + packed-bed reactor), 10 nucleoside + 4 non-nucleoside amidites, used to build a 51-mer; an inline-concentration step is flagged unsolved; end-to-end yield 35.2% vs 41.8% conventional. Framing: “an alternative that removes the storage constraint,” not “a faster route.”

Governance implication: core reagents are commodity, multi-sourced, and substitutable, and even the residual stability barrier is being engineered away. Reagent restriction is not a durable standalone control point — a structural conclusion, independent of the market-size figures.

### 4.3 Solvent Sourcing: Acetonitrile vs. Propylene Carbonate

Acetonitrile is hazardous, flammable, shipping/disposal-constrained, and shortage-prone (2008–09). Propylene carbonate (the OpenIDS substitution) gives 94–98% inkjet coupling, is a GRAS food additive, effectively unregulated, and commodity-sourced. Substituting PC for acetonitrile removes a genuine supply/handling friction point — one of the clearest documented cases of a supply-chain constraint being engineered around rather than defeated, and (with §4.2) a direct argument for attaching durable control to the device and to attribution, not to reagent/solvent supply.

## PART 5: DIY BIOTECH COMMUNITY — and the null finding

### 5.1 Community landscape

Community biology labs (BioCurious, Genspace, BUGSS, Counter Culture Labs, etc.) operate across North America, Europe, and Asia/South America/Oceania; DIYbio.org listed ~90 labs as of 2022 (counts vary). Genspace (Brooklyn, 2009/2010) was the first US community biolab; most labs meet BSL-1. DIYbio (Cowell & Bobe, 2008) drafted a 2011 code of ethics and runs the “Ask a Biosafety Expert” service.

### 5.2 The null finding (a governance result in itself)

A 2026 survey found no verified, reproducible community/garage oligonucleotide synthesizer. The ODIN, Genspace, Counter Culture Labs, DIYbio, Hackaday, and the diyhpl wiki all buy synthetic DNA — none synthesise de novo (the ODIN sells gene-editing kits, not a synthesizer; the diyhpl “DNA synthesis” page is lecture notes, not a build). Typical documented projects are BSL-1 hobbyist/civic (bioluminescent bacteria, DNA barcoding, food-authenticity, OpenPCR). The genuinely reproducible DIY frontier is therefore the academic open-hardware set (OpenIDS/OpenIDS2, MAS 2.0) plus DropSynth-style assembly — not a homebrew scene, and NTI (2023) locates the biosecurity concern in commercial benchtop devices, not a garage capability. This null result directly answers “are these the only DIY routes?” — effectively yes.

## PART 6: COST TRENDS & TECHNOLOGY READINESS

### 6.1 DNA synthesis cost per base

Long-run synthesis/sequencing cost data are tracked by Carlson & Field at synthesis.cc. DIY OpenIDS: system ~$19,900 (5-printhead); reagents ~$100–500 build, ~$1–5/sequence at scale. Caveat: cost parity with commercial providers (~1,000+ sequences) is parity on cost only — OpenIDS produces short (~15–30 nt), moderate-fidelity oligos, not commercial-grade long oligos, so it is not substitutable on capability.

### 6.2 Technology readiness (corrected)

| Approach | TRL | Capital | Expertise | Usable length @ fidelity | Oversight (R0) | Status 2026 |
| --- | --- | --- | --- | --- | --- | --- |
| OpenIDS (inkjet) | 5 | ~$20K (v1) / ~$4K (v2) | Medium (6/10) | ~15–30 nt | No oversight reaches DIY builders | Demonstrated; short-oligo only |
| MAS 2.0 (photolith.) | 5–6 | ~tens of $K | High (optics+chem) | library-grade | No oversight | Open build; origin-lab demonstrated |
| DropSynth (assembly) | 4 | ~$3.4K bead pool | Moderate | gene-length via assembly | No oversight (but oligo pool is screenable) | Reproduced; no fab/cleanroom |
| Electrochemical | 3 | ~$10K (est) | Medium (7/10) | Not established | No oversight | Pre-commercial; no DIY build |
| Enzymatic — DIY (Church) | ~3 | low | High (biochem) | data-storage only | No oversight | Off-the-shelf but not defined-sequence |
| Enzymatic — SYNTAX | 5 | ~€250–280K | Medium (5/10) | 80–120 nt | Manufacturer/reagent control point | Commercial (baseline) |
| Commercial benchtop (column) | 9 | ~$15–150K (best ~$60K) | Low (2/10) | ~100–150+ nt | Uneven; largely unscreened | Mature; active resale market (baseline) |
| Commercial provider (service) | 9 | $0 | Low (1–2/10) | Genes/genomes | Screened channel (IGSC ~80%) | Mature, screened baseline |

## PART 7: CRITICAL GAPS & RESEARCH OPPORTUNITIES

Accessibility mapping — regime-conditional TRI scoring usable length at high fidelity (not advertised maximum) and throughput; cost-trajectory characterisation with explicit TRL gating (no point forecasts for TRL-3); supply-chain vulnerability across all reagents; detectability signatures for DIY-synthesized sequences; and the residual-gap question: under mandatory commercial + benchtop screening, which DIY capability remains reachable? (Answer, from Part 1/5: a narrow, expertise-gated set of open-hardware builds + assembly-from-a-screened-pool — real but small.)

Bottleneck analysis — error-accumulation models for DIY vs commercial oligos; assembly feasibility from short/moderate-fidelity DIY oligos (partly addressed in §1.6 — assembly from 16–30-mers is demonstrated; the binding constraint is fidelity + the downstream error-correction/verification/host pipeline, per Cui 2024, Lubock 2017, NTI 2023). Open: quantify the correct-assembly yield achievable specifically from OpenIDS-grade (~56% full-length) oligos.

Policy & governance — control-lever effectiveness under R0 vs R1; international harmonisation beyond IGSC/OSTP (sharpened by the Part 2 finding that a US mandate reaches only 8 of 34 manufacturers, and by the secondhand-leakage evidence); benchtop-manufacturer customer-screening; and detection/forensic synthesis-route attribution (Chapter 4).

Emerging threats — similarity-based screening is vulnerable to AI-designed variants (~3% still escaped after patching, Wittmann 2025); function-based screening remains the unsolved problem; the scheduled October 2026 functional-SOC provision is the policy response.

## SUMMARY: RESEARCH LANDSCAPE AS OF 2026

The DIY frontier is narrow, academic, and skill-gated. OpenIDS/OpenIDS2 (inkjet, ~$4–20K) and MAS 2.0 (photolithographic) are the only reproducible open de novo synthesizers, and both are lab-grade, expertise-heavy, and currently short-oligo/library-grade — not assembly-ready for defined genes. DropSynth (+OMEGA) is cheap DIY assembly but inherits the screening perimeter through its commercial oligo pool. Electrochemical has no DIY build; enzymatic is DIY only in a data-storage-only form; and there is no working garage synthesizer at all. The correct inference is not that screening becomes irrelevant, but that a single point-of-sale control is insufficient: screening must be made mandatory, pushed on-device, extended internationally, and backstopped by forensic attribution for the devices and the residual DIY routes it cannot reach. The problem shifts from “prevent DIY synthesis” to “govern a proliferating-device world with a layered, mandatory, regime-conditional architecture” — which the October 2026 revisions and S. 3741 begin to build, and which this project sets out to stress-test.